Working Platform Certificate

| Project Name |  |
| --- | --- |
| Location |  |
| Activity |  |

Part 1 – Equipment Loading Parameters

| Equipment to be used | Track width |  |
| --- | --- | --- |
|  | Operation Mode 1 | Operation Mode 2 |
| Equivalent uniform bearing pressure |  |  |
| Equivalent bearing length of track |  |  |

Note: These track pressures have been calculated in accordance with the ___________________ method.

Part 2 – Working Limitations

The following limitations on operational conditions have been assumed in the calculation of the tracked equipment bearing pressures. It is essential that these conditions are followed strictly on site. (For example, maximum gradient, maximum mast inclination, maximum suspended load etc.)

# Part 3 – Working Platform Design

| Designer’s name |  |
| --- | --- |
| Designer’s Organisation |  |

The working platform has been designed in accordance with the __________________________ method. Overall stability has been checked. The following parameters were used in the design:

| Subgrade strength (Cu or °) |  |
| --- | --- |
| Platform weight density |  |
| Platform angle of friction (°) |  |
| Geotextile/geogrid (layers and strength) |  |
| Platform thickness (mm/in) |  |

Part 4 – Working Platform Installation

The working platform has been installed in accordance with the design requirements to safely support the equipment detailed on this certificate.  It will be maintained and repaired and reinstated to the as-installed condition after any excavation or damage, throughout the period that the equipment is on site.

| Signature |  | Name |  |
| --- | --- | --- | --- |
| Position |  | Date |  |
| Organisation |  | Address |  |

A completed copy of this certificate signed by the General Contractor must be given to each user of the working platform prior to commencement of any works on site.

Working Platform Certificate

| Project Name |  |
| --- | --- |
| Location |  |
| Activity |  |

Part 5 – Working Platform Testing

The working platform on the above stated work site has been tested in accordance with the requirements of the Designer (in Part 2 of this Certificate) and the test data has been sent to the General Contractor.

| Tester’s name |  |
| --- | --- |
| Tester’s Organisation |  |

Part 6 – Working Platform Monitoring and Maintenance

The working platform on the above stated work site has been reinstated and re-tested as necessary in accordance with the requirements of the Designer (in Part 2 of this Certificate).  Any test data has been sent to the General Contractor.

| Maintainer’s name |  |
| --- | --- |
| Maintainer’s Organisation |  |

Sketch Plan of Working Platform

| Working Platform Inspection and Monitoring Log (to be completed by a qualified and competent person) | Comments (include key details of re-instatement and repair and drawing reference if issued) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Signature |  |  |  |  |  |  |  |
|  | Name & Position |  |  |  |  |  |  |  |
|  | Organisation |  |  |  |  |  |  |  |
|  | Date |  |  |  |  |  |  |  |

Guidance on Working Platforms

1. Design

1.1. The stability of any construction equipment is dependent upon the provision of a suitable and sufficient working platform. It must be properly designed and installed. Guidance for this is provided in the EFFC – DFI Guide to Working Platforms Edition 2.

1.2. Whilst the same equipment may be operated by different companies the bearing pressures may differ due to its specific configuration of operation or modifications. The detailed bearing pressures and bearing length will be provided by the specialist contractor in advance of work commencing.

1.3. The design is extremely sensitive to the bearing pressure and type of material used in the platform construction. For example, changing the angle of friction of the material from 35 degrees to 45 degrees can halve the platform thickness required. It is therefore proposed that tests are performed on different fill materials in the field.

1.4. The working platform must be free draining at all times to prevent the build-up of water and drilling slurry.

1.5. In the case of fine-grained subgrades, a separation/filter membrane should be installed beneath the platform material. This will inhibit ‘pumping’ and infiltration of the fine-grained soils up into the platform material during wet weather (which can impair platform performance and increase maintenance costs).

2. Installation

2.1. The EFFC – DFI Working Platform Certificate is recommended for all sites where foundation equipment operates. The certificate must be signed by an authorised representative of the General Contractor. This merely confirms that the legal duties required under specific workplace health and safety acts and regulations have been carried out.

2.2. If the working platform is to be constructed or removed in phases while works are on-going, then the extent of the platform must be clearly defined on the certificate (see sketch plan) and physically on site. This is particularly important where the working platform is removed from an area previously made available to the specialist contractor.

2.3. The working platform provides access for all equipment, ancillary plant, deliveries, sub-contractors and personnel. Properly installed it will also provide suitable and safe access for the whole project.

2.4. One of the main causes of equipment instability is poor definition of the edge of the working platform. In general, the working platform should extend at least 2m beyond the working position/edge of the building. This ensures sufficient safe working area for personnel and attendant plant.

2.5. Where access ramps are used to move between working levels these must be of sufficient width and small enough gradient to allow the tracked equipment to move safely within the stability constraints of the machine. Ramps should be in a straight line between working areas as tracked equipment cannot change direction on a ramp. Where a change in direction is required, this must be on a flat level platform.

3. Maintenance, repair and reinstatement

3.1. The working platform must be kept free draining. Water and drilling slurry which is allowed to build up on the working platform can hide recently constructed piles, trip hazards, unstable ground and excavations. Slurry can be transferred to personnel which increases the risk of slips on steps as well as difficult handling of work tools.

3.2. Obstructions encountered during the drilling process will generally require excavation to remove them. This can create a ‘soft spot’ which can result in the equipment overturning. It is important that any excavations made in the working platform are reinstated to the designed standard. This is a significant cause of equipment overturning.

3.3	The working platform shall be subject to regular inspection by a competent individual throughout its life and especially after any reinstatement, works or events which might have modified it. Any damaged or inadequate areas identified must be reinstated to the designed standard. Following any repair or reinstatement the Working Platform Inspection Log shall be signed by an authorised representative of the General Contractor and issued to the specialist contractor with a layout drawing of the working platform amended as appropriate. Significant repair or reinstatement works or additions to the working platform area will require a new Working Platform Certificate.